Automated Pulse Sensing Tool

國立東華大學資訊工程系

National Dong Hwa University

110學年度大學部畢業專題研究報告

110 CSIE Undergraduate Project Report

指導教授Advisor:	顏士淨 (Shi-Jim Yen)

專題參與人員Team Member: 	Tyler Edwardo Eck

中   華   民   國　　111 　年　　05　　月 　20 　 日

國立東華大學資訊工程學系

專題報告原創性聲明

National Dong Hwa University

Department of Computer Science and Information Engineering

Statement of Originality

本人鄭重聲明：

所呈交的專題報告是在指導老師指導下進行的研究工作及取得的研究成果。除文中已經註明引用的內容外，本報告不包含任何其他個人或集體已經發表或撰寫過的研究成果。對本文的研究做出重要貢獻的個人與集體，均已在文中以明確方式標明。若有違上述聲明，願依校規處分及承擔法律責任。

I hereby affirm that the submitted project report is the result of research under the supervision of my advisor. Except where due references are made, the report contains no material previously published or written by another person or group. All significant facilitators to the project have been mentioned explicitly. Should any part of the statement be breached, I am subject to the punishment enforced by the University and any legal responsibility incurred.

| 學號Student No. | 學生姓名Name | 親筆簽名Signature |
| --- | --- | --- |

.           410821337            Tyler Edwardo Eck 		                           .

日    期 Date:  5/20/2022

ACKNOWLEDGEMENTS

In the process of conducting this project, I have received an abundance of support.

Firstly, I would like to thank my Advisor, Professor 顏士淨 (Shi-Jim Yen), for the assistance and resources needed to conduct such a complex project. The guidance that he gave me helped to overcome many problems that I found myself stuck with. Moreover, his expertise and knowledge in this field gave me insight into the paths that I had taken to complete this project.

I would also like to thank邱顯棟 (Jelly) and Serkan Kavak, two employees of the AI Lab, whose advice and one-on-one help pushed me to overcome the many programming obstacles that stood in my way.

With the help of the ⼨關尺辨 識 team and permission from my advisor, I was able to implement their pulse point detection algorithm into my tool. Without this, my project would not have been as engaging and practical.

Lastly, I would like to thank my parents, family, and friends whose value of support was immeasurable. Without this, I wouldn’t have pushed myself hard enough to make this project the best that it could be. They helped keep me grounded and were there to lend a helping hand if needed.

ABSTRACT

Due to the rise in popularity of technology, especially of the internet, people have sought to use creative and functional methods of implementing it in their daily life. Automation, for instance, can have a huge impact in the amount of time saved doing remedial tasks. As seen in the manufacturing sector, both throughput and speed are pushed to the limit with industrial robots in the place of working human beings. This exponential improvement that automation brings should be applied to something more important such as the medical field.

Combining automation with medical tools creates a crossroad for the tool proposed in this project. With an automated pulse sensor that can remotely record a person’s pulse faster, medical checkups for the elderly living in remote areas becomes easier and more efficient. By using a cloud-based platform, this tool can also give doctors the ability to remotely observe multiple people’s pulse recordings at any given time. Limitations on location and time would be eradicated as a result of the implementation of this tool.

Keywords: automation, medical, pulse, cloud-based

CONTENTS

Statement of Originality …………………………………………………1

Acknowledgments ……………………………………………………….2

Abstract …………………………………………………………………...3

Introduction ……………………………………………………………….5

Motivation and Research Problem ……………………….…………....7

Research Method ………………………………………………………..8

Program Execution ……………………………………………………..15

Research Results (Discussion) ………………………………………..25

Conclusion ……………………………………………………………….28

References ……………………………………………………………....29

INTRODUCTION

In this evolving technological era, it is common to find ourselves dependent on automation technology whether it may be for a simple smart home device or something more complex such as a self-driving car (autonomous vehicle). Regardless, it is important to note that this fundamental use of automation can have a drastic impact on our seemingly difficult life. As popularity and demand grow, I believe that the next logical step is to implement automation in more important roles such as for medical purposes. By doing this, more time will be saved which may potentially save more lives.

Due to its popularity here in Eastern Taiwan, the specific medical procedure that I want to automate is pulse diagnosis in Traditional Chinese Medicine (TCM). As opposed to pulse diagnosis in western medicine that retrieves little information from a single point, TCM pulse diagnosis focuses on three locations, cun, guan and chi, on a person’s wrist to get the condition of the heart, liver, and kidney respectively. Although it is argued that TCM pulse diagnosis results are biased and only dependent on the practitioner’s experience and intuition, there have been many studies that aim to quantify the methods and assessments that can be drawn from the diagnosis. Moreover, most of the Taiwanese population, especially the elderly, rely on TCM assessments and consultations when they’re sick.

Therefore, with the advantages that automation brings and the popularity of Traditional Chinese Medicine in Taiwan, I propose a fully automated pulse sensing tool that will allow for users to measure their pulse with ease.

With the simple push of a button, this tool will detect the pulse location on a person’s wrist, move the pulse sensor to that location, and then finally make a digital recording of the pulse reading that will automatically be uploaded to the cloud.

As a result, the pulse reading can be analyzed by a doctor anywhere in the world making it more convenient for patients to see the doctors and for doctors to analyze and assess pulse diagnosis.

MOTIVATION AND RESARCH PROBLEM

Technology has solved many of our proximity problems whether it may be remote schooling due to COVID-19 or online conferences for company chains in different locations. The value of being able to connect with each other regardless of our location is quite essential in this modern age. Although we take it for granted, this idea of connection must be pushed to its limit. Therefore, the motivation of this project is to extend this connection to people who are physically unable to go for frequent doctor visits as a result of living in remote areas.

Small villages, especially in the east of Taiwan, lack the efficient number of doctors and special experts that are needed due to high numbers of elderly population living in those areas. Because of this, a lot of people need to travel far distances just to get a routine check-up. This poses a problem when they are physically unable to go due to health conditions, lack of transport, or the dynamic COVID-19 restrictions. The proposed tool allows for convenience as the goal is to make it accessible for people to send their information remotely to the doctor for examination.

RESEARCH METHOD

The project’s goal was to make an automated system that remotely transmits data. It needed both the necessary hardware to move motors and measure the pulse and the necessary software for detection of the wrist location, GUI for users, and the transmission of data. Therefore, I have split the project into two main parts as shown below: hardware and software

- Hardware

The three main hardware components necessary to complete the project were the step motors to move the sensor, the camera as digital input for detection, and the pulse sensor to measure the pulse. Fortunately, I was provided with a Creality CR10s 3D printer that had all the necessary motors with its stop switches connected in an X,Y,Z plane shown below in Figure 1.

Figure 1: 3D printer with dimensions

The repurposing of this 3D printer required reprogramming the stepper motors that were connected to the motherboard. The motherboard, which is housed separately with the battery, is an Arduino2560 microcontroller and can therefore be controlled using the Arduino IDE. After the reprogramming was done, the motors could move in accordance with the X, Y, and Z Cartesian plane based on coordinates that was supplied to it through the serial.

The pulse sensor and camera were both provided by the lab as well. The pulse sensor is a HK-2019 Cylindrical Pulse Sensor. This 200Hz pulse sensor, as shown in Figure 2 (left), measures both pulse and pressure. The camera is a StereoLabs ZED dual camera as shown in Figure 2 (right). Because the website specifically advertises it for autonomous robotics due to its high frame rate and long-range 3D sensing, it was selected for the project.

Figure 2: Pulse Sensor and ZED Dual Camera

Lastly, to mount both the camera and the sensor together for the motors to move, I had to learn how to design a 3D model and how to print using a 3D printer. Fortunately, the lab had a functioning 3D printer to my disposal, so I designed and printed a 3D-printed part shown below in Figure 3. (On the left shows the design of the part in the software and the right shows the printed piece).

Figure 3: 3D-printed part

After all the necessary hardware configurations were done, the right USB drivers were installed, and USB extensions were added to each hardware component, the final hardware product was completed.

Figure 4: Completed Hardware

- Software

There were two main portions of the project that consisted of software: The reprogramming of the Arduino and the GUI for the doctors/patients to use. These two programs will communicate with each other via the serial to have the motors move based on the specifications made in the GUI, thus successfully connecting the hardware and the software together.

The Arduino language, which is a language that uses C++, is a simple language used for the wiring and programming of Arduino microcontroller boards. As stated in the Hardware section, the motherboard used in the Creality 3D printer is an Arduino Mega 2560 running Marlin 2.0, the firmware used for all Creality printers. However, with simple programming done in the Arduino IDE, I successfully wrote a function that would constantly listen for coordinates through the serial. With these coordinates, I moved the X,Y, and Z coordinate motors with the help of an official Arduino library called SpeedyStepper. Shown below is a snippet of the Arduino code that constantly loops to listen for coordinates.

Figure 5: Arduino Code

Based on previous knowledge of GUI designing and implementation, I decided to use Tkinter, a package in the standard Python interface GUI toolkit, to construct a user-friendly interface for the doctors and patients to use. As shown below in Figure 6, the GUI consists of 4 parts:

- Camera – the section on the top left to show users a live feed of the camera and its detection of the pulse point

- Options – the section on the bottom left to switch between the two main modes: Manual and Automatic, control the motors manually with arrows and step selection, and start the scan when needed. The section also gives connection information regarding the pulse sensor, motors, and camera.

- Graph – the section to display, examine, and manipulate the graph taken.

- Information – the section on the bottom right to give additional information of the graph including the name, date, and a description (if needed). After all necessary information is inputted, an upload button allows for the user to send the data via Firebase to the cloud for evaluation.

Figure 6: Automated Pulse Sensing Tool GUI

Lastly, the detection algorithm used to detect the pulse point was developed by the ⼨關尺辨 識 group and was implemented into this project. The algorithm calculates the point by using a Python package called Mediapipe. As shown below, Mediapipe can detect a hand and identify 21 uniquely marked points on the hand known as landmarks. It is with 11 of these 21 landmarks that the algorithm calculates and marks the points in the Camera section.

Figure 7: Automated Pulse Sensing Tool GUI

PROGRAM EXECUTION

The main flow of the program starts with the detection and recognition of all connected devices, including the motors from the Arduino, the pulse sensor, and the camera that are all connected via USB. After everything is confirmed to be connected, the user must select one of the two modes to run: Manual or Automatic

The default mode, manual mode, allows for a more interactive and hands-on experience which would most likely be done by a doctor. Movement of the motors can simply be done by selecting the number of millimeters each press should take and then pressing the Up, Down, Left, and Right buttons located in the Options section as shown in Figure 8.

Figure 8: Manual Mode: Selection of Cm per Step

To aid the doctor in reaching the proper x and y coordinate of the pulse point, the detect button should be pressed to activate the detection algorithm. The live camera feed will display the calculated and marked pulse point on the screen. Due to its fast-dynamic calculations, the algorithm’s marking may change abruptly. To combat this, the Stop button should be pressed to stop the frame of the camera. From this point, the doctor can press where the pulse sensor, which is marked on the screen as a blue circle, should go and the motors will move to that location. Shown below in Figure 9 is the flow of this operation.

Figure 9: Manual Mode: Detection of Pulse Location

After the x and y coordinates have been reached, the doctor can then manually move the Z-axis sensor motor to the necessary height. When the desired location is reached, the scan button can then be pressed to graph the pulse and pressure taken from the pulse sensor and the stop button can be pressed to finish scanning and display the graph in the Graph section. If the doctor chooses to edit the graph, a button called “Open Graph”, located below the graph, can be pressed. The Open Graph window, shown in Figure 10.2, will display the graph and allow the doctor to select a snippet by left clicking for the start position and right clicking for the end position. When finished, the selected snippet, indicated by a red hue, will display as the graph on the main application.

Figure 10.1: Manual Mode: Edit the Graph

Figure 10.2: Manual Mode: Edit the Graph

Figure 10.3: Manual Mode: Edit the Graph

Lastly, the name and description areas are for the doctors to fill in necessary information regarding the pulse scan. The Upload Button should then be pressed to upload files to Firebase Storage. As shown below in Figure 11, the two files that are uploaded, the picture of the reading and the information text file, are both inserted into folders named after the patient.

Figure 11.1: Manual Mode: Upload Graph

Figure 11.2: Manual Mode: Upload Graph

Figure 11.3: Manual Mode: Upload Graph

Automatic mode does the detection of the pulse point via the camera, the movement of the motors based on that pulse point, and the scanning of the pulse automatically. As a result, the patient would just need to enter their name and other information and then upload the scan. Because this mode is intended for the general user (patients), when the Automatic button is pressed, a series of instructions are displayed. The user will need to read these instructions before the automation occurs. Shown below are the instruction pages.

RESEARCH RESULTS (DISCUSSION)

The tool’s functionality and ease of use allows for both the doctors and the patients to understand how to use the program and automate the task of getting the pulse successfully. However, the actual tool that was built is a “proof of concept” and needs further research to be tested by a real TCM doctor. Moreover, even if all requirements are met for testing, official safety guidelines will need to be followed because it is a medical tool that will be used on patients.

The only results that can be discussed are about the pulse readings that are measured after automation occurs in the Automatic Mode of this tool. The goal to automatically detect the right pulse point and move motors to that point can be verified by the digital pulse reading that is recorded. For the sake of simplicity, the only detection point that was implemented in this tool was the “cun” point on the right hand as shown in Figure 12. The pressure for all these tests were also kept low.

Figure 12: Cun Point on Right Hand

If the motors move the pulse sensor to a Z height barely touching the skin, a flat line for the pulse and the pressure will be recorded as shown in Figure 13.

Figure 13: Wrong Z Height: Constant Line

If the motors move the pulse sensor to a wrong X,Y coordinate that is not the proper pulse point, noisy data will be gotten as shown in Figure 14.

Figure 14: Wrong X,Y Point: Noisy Data

Lastly, if the motors move the pulse sensor to right X,Y, and Z coordinate, the indication that a proper pulse reading was gotten is shown in Figure 15.

Figure 15: Correct X,Y, and Z: Proper Pulse Reading

The different readings from my tests show a clear distinction between the wrong pulse point and the right pulse point. Moreover, Figure 16 shows the clear similarities between a reading done by the Automated Pulse Sensing Tool and the pulse pattern of a healthy person therefore validating the tool’s pulse reading.

Figure 16: Pulse Pattern Comparison

CONCLUSION

The aim of this project was to design and implement an automated pulse sensing tool that automatically detects the pulse point, moves the pulse sensor to that pulse point, and reads and uploads the results. Due to the similarities between official pulse readings and the tested readings, it can be concluded that both the hardware and software of this project proved to be functional. Moreover, the simplicity of the GUI, with the Automatic Mode instructions, allowed for users of the Automated Pulse Sensing Tool to measure their pulse with ease.

Although the tool could not be properly implemented, the accurate results and the successful integration of Firebase proved to show that a tool like this could be useful to patients who live in remote areas.

Future goals for this project, if it were to be continued, are to add other points “guan” and “chi”, increase accurateness of detection, and even add a language section to switch between Chinese and English. However, for the sake of this undergraduate project, the tool was sufficient enough to demo and yield proper results.

REFERENCES

- https://www.intechopen.com/chapters/40015

- https://www.researchgate.net/figure/A-C-pulse-patterns-of-young-healthy-persons-A-taut-B-slippery-C-moderate-Plot_fig3_236266843

- http://www.hfhuake.com/Article.asp?pid=145&id=361

- http://www.empirical-health.com/services/pulse-diagnosis/

- https://www.ncbi.nlm.nih.gov/pmc/articles/PMC7472259/